## Sheet1
EXHIBIT 27 40 00-11, CONTROL SYSTEMS BUTTON BY BUTTON
Items in italics are notes!
Page | Button | Description
Splash |  | This is the default starting point for the user interface
Splash page (full page button, system pin configured)
Shows PIN entry page
If PIN Entered correctly:
Show "Opening" page
Show "PIN Outcome Success" popover for 3 seconds
Hide PIN entry page
If PIN Entered incorrectly:
Show "Splash" page
Show "PIN Outcome Failure" popover for 3 seconds
Hide PIN entry page
Splash page (full page button, no system pin configured)
Show "Opening" page
Opening |  | This page is where system activity is selected before the system is powered on.
{Inactivity Timer}
After 2 minutes of TP inactivity, show "Splash" page
Share
Shows "Power-Transition" modal popup page.
Sets transition text (for power on) and sets transition time display
Turns on projectors and displays
lowers projector screens
sets all hardware to full power modes
Sets program and mic vols to preset values
Sends cameras to home positions
Sets projectors and displays to appropriate inputs
Unmutes audio sources and resets display mute state to off
When power transition timer reaches zero or all projectors and displays report on and minimum start-up time has elapsed, sets transition text (for share configuration) and sets transition time display
Selects PC as current source
Configure "Main" page to "Share" configuration
When timer reaches zero, displays "Main" page in "Share" configuration
Shows dismissable user tip for 60 seconds before automatically dismissing tip and showing appropriate source controls (PC)
Adv. Share
Shows "Power-Transition" modal popup page.
Sets transition text (for power on) and sets transition time display
Turns on projectors and displays
lowers projector screens
sets all hardware to full power modes
Sets program and mic vols to preset values
Sends cameras to home positions
Sets projectors and displays to appropriate inputs
Unmutes audio sources and resets display mute state to off
When power transition timer reaches zero or all projectors and displays report on and minimum start-up time has elapsed, sets transition text (for group work configuration) and sets transition time display
Selects PC as current source
Configure "Main" page to "Adv. Share" configuration
When timer reaches zero, displays "Main" page in "Adv. Share" configuration
Group Work
Shows "Power-Transition" modal popup page.
Sets transition text (for power on) and sets transition time display
Turns on projectors and displays
lowers projector screens
sets all hardware to full power modes
Sets program and mic vols to preset values
Sets projectors and displays to appropriate inputs
Sends cameras to home positions
Unmutes audio sources and resets display mute state to off
When power transition timer reaches zero or all projectors and displays report on and minimum start-up time has elapsed, sets transition text (for group work configuration) and sets transition time display
Selects groupwork pods as current sources
Configure "Main" page to "Group Work" configuration
When timer reaches zero, displays "Main" page in "Group Work" configuration
Shows dismissable user tip for 60 seconds before automatically dismissing tip and showing appropriate source controls (Instructor Pod)
| Room Name | disabled
| Alert | only shown if there is an active system alert
Shows "System Alert" Popover
Lights
Shows "Room" Popover
Cog (short press)
Shows "Audio" Popover
Cog (long press)
Shows PIN entry page
If PIN Entered correctly:
Show "Tech" page
Show "PIN Outcome Success" popover for 3 seconds
Hide PIN entry page
If PIN Entered incorrectly:
Show "Opening" page on previous configuration
Show "PIN Outcome Failure" popover for 3 seconds
Hide PIN entry page
Help
Show "Help" Popover
Main (Share Configuration) |  | This is the main operating page during normal (On) conditions. This is where the user spends most of their time.
Share
Nothing, already selected
Adv. Share
Shows "Power-Transition" modal popup page.
Sets transition text (for adv share configuration) and sets transition time display
Select current source to all destinations
Configure "Main" page to "Adv. Share" configuration
When timer reaches zero, displays "Main" page in "Adv. Share" configuration
Group Work
Shows "Power-Transition" modal popup page.
Sets transition text (for group work configuration) and sets transition time display
Selects groupwork pods as current sources
Configure "Main" page to "Group Work" configuration
When timer reaches zero, displays "Main" page in "Group Work" configuration
Shows dismissable user tip for 60 seconds before automatically dismissing tip and showing appropriate source controls (Instructor Pod)
Off
Shows "Shutdown Confirmation" Popover
Starts shutdown timer
When timer reaches zero, begins shutting system down
Shows "Power-Transition" modal popup page.
Sets transition text (for shutdown) and sets transition time display
turns off projectors and displays, except confidence monitor(s)
puts up projector screens
mutes audio sources
sends cameras to standby position
puts hardware in standby modes
clears users and posts from Solstice pods
When power transition timer reaches zero or all projectors and displays report off and minimum shutdown time has elapsed, show "Opening" page
turn off confidence monitor(s)
| Room Name | disabled
| Alert | only shown if there is an active system alert
Shows "System Alert" Popover
Camera
Shows "Camera" Popover
Lights
Shows "Room" Popover
Cog (short press)
Shows "Audio" Popover
Cog (long press)
Shows PIN entry page
If PIN Entered correctly:
Show "Tech" page
Show "PIN Outcome Success" popover for 3 seconds
Hide PIN entry page
If PIN Entered incorrectly:
Show "Main" page on previous configuration
Show "PIN Outcome Failure" popover for 3 seconds
Hide PIN entry page
Help
Show "Help" Popover
| Source Buttons: One per configured source | All buttons operate the same except for selected source
Sends selected source video to all video destinations
Sends selected source audio to system audio destination
| Source, Previous | Only shown if more than 5 system sources have been configured
Displays previous source buttons
| Source, Next | Only shown if more than 5 system sources have been configured
Displays next source buttons
Privacy Toggle
Toggles all video destinations to mute/blank source
Mic Toggle
Toggles all mics mute
Program Toggle
Toggles program mute
Program Vol Up (Press)
Nudges program volume up
Program Vol Up (Hold)
Shifts program volume up while held
Program Vol Down (Press)
Nudges program volume down
Program Vol Down (Hold)
Shifts program volume down while held
Main (Adv Share Configuration) |  | This is the main operating page during normal (On) conditions. This is where the user spends most of their time.
Share
Shows "Power-Transition" modal popup page.
Sets transition text (for share configuration) and sets transition time display
Select main destination (projector) source to all destinations
Configure "Main" page to "Adv. Share" configuration
When timer reaches zero, displays "Main" page in "Adv. Share" configuration
Adv. Share
Nothing, already selected
Group Work
Shows "Power-Transition" modal popup page.
Sets transition text (for group work configuration) and sets transition time display
Selects groupwork pods as current sources
Configure "Main" page to "Group Work" configuration
When timer reaches zero, displays "Main" page in "Group Work" configuration
Shows dismissable user tip for 60 seconds before automatically dismissing tip and showing appropriate source controls (Instructor Pod)
Off
Shows "Shutdown Confirmation" Popover
Starts shutdown timer
When timer reaches zero, begins shutting system down
Shows "Power-Transition" modal popup page.
Sets transition text (for shutdown) and sets transition time display
turns off projectors and displays, except confidence monitor(s)
puts up projector screens
mutes audio sources
sends cameras to standby position
puts hardware in standby modes
clears users and posts from Solstice pods
When power transition timer reaches zero or all projectors and displays report off and minimum shutdown time has elapsed, show "Opening" page
turn off confidence monitor(s)
| Room Name | disabled
| Alert | only shown if there is an active system alert
Shows "System Alert" Popover
Camera
Shows "Camera" Popover
Lights
Shows "Room" Popover
Cog (short press)
Shows "Audio" Popover
Cog (long press)
Shows PIN entry page
If PIN Entered correctly:
Show "Tech" page
Show "PIN Outcome Success" popover for 3 seconds
Hide PIN entry page
If PIN Entered incorrectly:
Show "Main" page on previous configuration
Show "PIN Outcome Failure" popover for 3 seconds
Hide PIN entry page
Help
Show "Help" Popover
| Source Buttons: One per configured source, plus blank | All buttons operate the same except for selected source
Selects source as active
| Source, Previous | Only shown if more than 5 system sources have been configured
Displays previous source buttons
| Source, Next | Only shown if more than 5 system sources have been configured
Displays next source buttons
Destination Buttons: One per configured destination
Sends active source video to destination
If destination is system audio destination, sends active source audio to system audio destination
Send to All
Sends active source video to all destinations
Sends active source audio to system audio destination
Mic Toggle
Toggles all mics mute
Program Toggle
Toggles program mute
Program Vol Up (Press)
Nudges program volume up
Program Vol Up (Hold)
Shifts program volume up while held
Program Vol Down (Press)
Nudges program volume down
Program Vol Down (Hold)
Shifts program volume down while held
changes this mics preset value to this mics gurrent gain setting
| Destination Alert (1 per destination) | only shown if destination's source has an alert
Opens Destination Alert Popup
| Destination Source Control (1 per destination) | only shown if destination's source has controls
Opens Destination Source Control Popup
| Destination Screen Control (1 per destination) | only shown if destination has a controllable screen
Opens Destination Screen Control Popup
Destination Audio Control (1 per destination) (press)
Toggles system audio destination to this destination
Destination Audio Control (1 per destination) (hold)
Toggles destination to local audio output
Main (Group Work Configuration) |  | This is the main operating page during normal (On) conditions. This is where the user spends most of their time.
Share
Shows "Power-Transition" modal popup page.
Sets transition text (for share configuration) and sets transition time display
Select main destination (projector) source to all destinations
Configure "Main" page to "Adv. Share" configuration
When timer reaches zero, displays "Main" page in "Adv. Share" configuration
Adv. Share
Shows "Power-Transition" modal popup page.
Sets transition text (for adv share configuration) and sets transition time display
Select current source to all destinations
Configure "Main" page to "Adv. Share" configuration
When timer reaches zero, displays "Main" page in "Adv. Share" configuration
Group Work
Nothing, already selected
Off
Shows "Shutdown Confirmation" Popover
Starts shutdown timer
When timer reaches zero, begins shutting system down
Shows "Power-Transition" modal popup page.
Sets transition text (for shutdown) and sets transition time display
turns off projectors and displays, except confidence monitor(s)
puts up projector screens
mutes audio sources
sends cameras to standby position
puts hardware in standby modes
clears users and posts from Solstice pods
When power transition timer reaches zero or all projectors and displays report off and minimum shutdown time has elapsed, show "Opening" page
turn off confidence monitor(s)
| Room Name | disabled
| Alert | only shown if there is an active system alert
Shows "System Alert" Popover
Camera
Shows "Camera" Popover
Lights
Shows "Room" Popover
Cog (short press)
Shows "Audio" Popover
Cog (long press)
Shows PIN entry page
If PIN Entered correctly:
Show "Tech" page
Show "PIN Outcome Success" popover for 3 seconds
Hide PIN entry page
If PIN Entered incorrectly:
Show "Main" page on previous configuration
Show "PIN Outcome Failure" popover for 3 seconds
Hide PIN entry page
Help
Show "Help" Popover
| Source Buttons: One per configured source | All buttons operate the same except for selected source
Sends selected source video to instructor video destinations
Sends selected source audio to system audio destination
| Source, Previous | Only shown if more than 5 system sources have been configured
Displays previous source buttons
| Source, Next | Only shown if more than 5 system sources have been configured
Displays next source buttons
Privacy Toggle
Toggles all video destinations to mute/blank source
Send to All
Sends selected source video to all destinations
Sends selected source audio to system audio destination
Return to Group
Selects groupwork pods as current sources
Mic Toggle
Toggles all mics mute
Program Toggle
Toggles program mute
Program Vol Up (Press)
Nudges program volume up
Program Vol Up (Hold)
Shifts program volume up while held
Program Vol Down (Press)
Nudges program volume down
Program Vol Down (Hold)
Shifts program volume down while held
Tech
Tech Page Buttons: one per tech page
Shows selected Tech page
| Prev | only shown if more than 5 tech pages are configured
Displays previous tech page buttons
| Next | only shown if more than 5 tech pages are configured
Displays next tech page buttons
Exit
Hide Tech page
Shows "Main" or "Opening" page depending on system mode and activity
Tech - System Status
Previous
Shows previous device status
Next
Shows next device status
Tech - Display Controls
On (Confidence)
Turns on Confidence Monitor
Off (Confidence)
Turns off Confidence monitor
Source Reset (Confidence)
Resets Confidence monitor to appropriate input
On (Projector)
Turns on projector
Off (Projector)
Turns off projector
Source Reset (Projector)
Resets projector to appropriate input
Screen Up (Projector)
Sends projector screen up
Screen Down (Projector)
Sends projector screen down
Screen Stop (Projector)
Stops projector screen in place
On (Monitor)
Turns on monitor
Off (Monitor)
Turns off monitor
Source Reset (Monitor)
Resets projector to approriate input
Audio Toggle (Monitor)
Toggles between system and local audio modes
Audio Slider (Monitor)
Adjusts monitor local volume
Tech - Manual Matrix
Matrix Cross Point
Makes matrix tie of select matrix tie mode at the selected cross point
Audio Tie Mode
Sets matrix tie mode to: Audio
Video Tie Mode
Sets matrix tie mode to: Video
AV Tie Mode
Sets matrix tie mode to: AV
Untie Mode
Sets matrix tie mode to: untie
Delete All Current Ties
Unties All matrix cross points
Tech - Camera Controls
| Camera Select | Only shown if more than 1 camera in the system
Selects which camera the rest of the controls operate
Preset Select (Press)
Sends camera to selected preset location
Preset Select (Held)
Opens Camera Preset Editor popup page
Pan/Tilt Arrows (Press)
Starts Pan/Tilt action
Pan/Tilt Arrows (Release)
Stops Pan/Tilt action
Zoom Buttons (Press)
Starts Zoom action
Zoom Buttons (Release)
Stops Zoom action
Home
Sends Camera to Home location
Tech - Audio Input Configuration
| Gain Up | 1 per input channel
Nudges channel gain up
| Gain Down | 1 per input channel
Nudges channel gain down
| Phantom Power Toggle | 1 per input channel
Toggles phantom power
Previous
Displays previous page of input channel configuration objects
Next
Displays next page of input channel configuration objects
Tech - Room Scheduling
Auto Start toggle
Toggles automatic system startup based on configured schedule
Start Schedule button
Opens Schedule Editor Popup for Start Schedule
| Start Activity buttons | 1 per activity
Selects activity for Start Schedule to start system into
Auto Shutdown toggle
Toggles automatic system shutdown based on configured schedule
Shutdown Schedule button
Opens Schedule Editor Popup for Shutdown Schedule
Tech - Room Configuration
| None | None implemented at this time
Tech - Advanced Audio
All Mics Toggle
Toggles all mics mute
| Mic Toggle | 1 per mic channel
Toggles mic mute
| Mic Vol Up (Press) | 1 per mic channel
Nudges mic volume up
| Mic Vol Up (Hold) | 1 per mic channel
Shifts mic volume up while held
| Mic Vol Down (Press) | 1 per mic channel
Nudges mic volume down
| MIc Vol Down (Hold) | 1 per mic channel
Shifts mic volume down while held
Program Toggle
Toggles program mute
Program Vol Up (Press)
Nudges program volume up
Program Vol Up (Hold)
Shifts program volume up while held
Program Vol Down (Press)
Nudges program volume down
Program Vol Down (Hold)
Shifts program volume down while held
Tech - Panel Setup
Panel Brightness slider
adjust panel brightness level
Auto Brightness
Toggles panel autobrightness
Panel Audio Volume slider
adjusts volume level
Panel Sleep slider
adjusts panel sleep timeout duration
Panel Auto Sleep
Toggles enable auto-sleep
Panel Wake on Motion
Toggles panel wake on motion
Tech - About | no controls only feedback
Popover - Alert
Close
Closes popover
Popover - Camera
Close
Closes popover
| Camera Select | Only shown if more than 1 camera in the system
Selects which camera the rest of the controls operate
Preset Select (Press)
Sends camera to selected preset location
Preset Select (Held)
Opens Camera Preset Editor popup page
Pan/Tilt Arrows (Press)
Starts Pan/Tilt action
Pan/Tilt Arrows (Release)
Stops Pan/Tilt action
Zoom Buttons (Press)
Starts Zoom action
Zoom Buttons (Release)
Stops Zoom action
Popover - Room
Close
Closes popover
Popover - Audio
Close
Closes popover
All Mics Toggle
Toggles all mics mute
| Mic Toggle | 1 per mic channel
Toggles mic mute
| Mic Vol Up (Press) | 1 per mic channel
Nudges mic volume up
| Mic Vol Up (Hold) | 1 per mic channel
Shifts mic volume up while held
| Mic Vol Down (Press) | 1 per mic channel
Nudges mic volume down
| MIc Vol Down (Hold) | 1 per mic channel
Shifts mic volume down while held
Program Toggle
Toggles program mute
Program Vol Up (Press)
Nudges program volume up
Program Vol Up (Hold)
Shifts program volume up while held
Program Vol Down (Press)
Nudges program volume down
Program Vol Down (Hold)
Shifts program volume down while held
Popover - Help
Close
Closes popover
Show Tips
Shows dismissable user tip for 60 seconds before automatically dismissing tip and showing selected source controls
Source Control - PC/Camera
| Camera Select | Only shown if more than 1 camera in the system
Selects which camera the rest of the controls operate
Preset Select (Press)
Sends camera to selected preset location
Preset Select (Held)
Opens Camera Preset Editor popup page
Pan/Tilt Arrows (Press)
Starts Pan/Tilt action
Pan/Tilt Arrows (Release)
Stops Pan/Tilt action
Zoom Buttons (Press)
Starts Zoom action
Zoom Buttons (Release)
Stops Zoom action
Source Control - WPD
Clear Posts
Clears posts from selected Mersive Solstice device
Clear Posts & Users
Clears posts and users from select Mersive Solstice device
Destination Popup - Source Control - WPD
Close
Closes destination popup
Clear Posts
Clears posts from selected Mersive Solstice device
Clear Posts & Users
Clears posts and users from select Mersive Solstice device
Destination Popup - Source Control - Camera
Close
Closes destination popup
| Camera Select | Only shown if more than 1 camera in the system
Selects which camera the rest of the controls operate
Preset Select (Press)
Sends camera to selected preset location
Preset Select (Held)
Opens Camera Preset Editor popup page
Pan/Tilt Arrows (Press)
Starts Pan/Tilt action
Pan/Tilt Arrows (Release)
Stops Pan/Tilt action
Zoom Buttons (Press)
Starts Zoom action
Zoom Buttons (Release)
Stops Zoom action
Destination Popup - Screen Control
Close
Closes destination popup
Screen Up
Sends projector screen up
Screen Down
Sends projector screen down
Screen Stop
Stops projector screen in place
Destination Popup - Source Alert
Close
Closes destination popup
Camera Preset Editor
Preset Name
Opens keyboard
Reset to Home Position
Sends camera to home Position
Save Preset
Closes Camera Preset Editor and saves changes
Cancel
Closes Camera Preset Editor without saving changes
Pan/Tilt Arrows (Press)
Starts Pan/Tilt action
Pan/Tilt Arrows (Release)
Stops Pan/Tilt action
Zoom Buttons (Press)
Starts Zoom action
Zoom Buttons (Release)
Stops Zoom action
Keyboard
Character Keys
Inserts character at cursor position
Del
Deletes character after cursor
Backspace
Deletes character before cursor
| Caps Lock | Caps Lock and shift keys cancel each other out
Toggles capital letters and special characters
| Shift | Caps Lock and shift keys cancel each other out
Toggles capital letters and special characters for the next input
Cursor Left/Right
Shifts cursor one character to the Left/Right
Save
Closes keyboard popup and saves new text string
Cancel
Closes keyboard popup without saving next text string
PIN Entry Popup
Numeral buttons
Inserts the selected numeral into the PIN string for verification
Backspace
Removes the last entered character from the PIN string
Cancel
Clears the pin data
Closes the PIN Entry Popup
Shutdown Confirmation
Cancel
Ends shutdown timer
Returns to Main page configured to the current activity
End Now
Begins shutting system down immediately
Shows "Power-Transition" modal popup page.
Sets transition text (for shutdown) and sets transition time display
turns off projectors and displays, except confidence monitor(s)
puts up projector screens
mutes audio sources
sends cameras to standby position
puts hardware in standby modes
clears users and posts from Solstice pods
When power transition timer reaches zero or all projectors and displays report off and minimum shutdown time has elapsed, show "Opening" page
turn off confidence monitor(s)
Schedule Editor Popup
Day-of-Week Buttons (Monday - Sunday)
Toggles day for schedule configuration
Select All Days
Selects all days for schedule configuration
Selects Weekdays
Selects only Monday through Friday for schedule configuration
Hour Arrows
Increases/Decreases hour by one (13 rolls over to 1, 0 rolls over to 12)
Minute Arrows
Increases/Decreases minute by one (60 rolls over to 0, -1 rolls over to 59)
AM/PM Buttons
Selects AM/PM for schedule configuration time
Save Schedule
Closes Schedule Editor Popup and saves schedule configuration changes
Cancel
Closes Schedule Editor Popup without saving schedule changes